# Main Insuator copy1

Report date

Jul 5, 2026, 2:58:51 AM

Contents

1.	Global Definitions

1.1.	Parameters

2.	Component 1

2.1.	Definitions

2.2.	Geometry 1

2.3.	Materials

2.4.	Electrostatics

2.5.	Mesh 1

3.	Study 1

3.1.	Parametric Sweep

3.2.	Stationary

4.	Results

4.1.	Datasets

4.2.	Tables

4.3.	Plot Groups

# Global Definitions

| Date | Jun 29, 2026, 6:28:09 AM |
| --- | --- |

Global settings

| Name | Main Insuator copy1.mph |
| --- | --- |
| Path | D:\COMSOL\Main_Insuator_copy1.mph |
| Version | COMSOL Multiphysics 6.3 (Build: 290) |

Used products

COMSOL Multiphysics

Computer information

| CPU | Intel64 Family 6 Model 186 Stepping 2, 6 cores, 15.66 GB RAM |
| --- | --- |
| Operating system | Windows 11 |

## Parameters

Parameters 1

| Name | Expression | Value | Description |
| --- | --- | --- | --- |
| L0 | 3350.7[mm] | 3.3507 m | total length of insulator |
| L | 3400[mm] | 3.4 m |  |

# Component 1

## Definitions

### Coordinate Systems

#### Boundary System 1

| Coordinate system type | Boundary system |
| --- | --- |
| Tag | sys1 |

Coordinate names

| First | Second | Third |
| --- | --- | --- |
| t1 | n | to |

## Geometry 1

Geometry 1

Units

| Length unit | mm |
| --- | --- |
| Angular unit | deg |

## Materials

### Air

Air

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

### FR4 (Circuit Board)

FR4 (Circuit Board)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 111–112 |

### Silicon

Silicon

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 110, 113 |

### Aluminum

Aluminum

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 2–109, 114–208 |

## Electrostatics

Electrostatics

Equations

Features

| Name | Level |
| --- | --- |
| Free Space 1 | Domain |
| Zero Charge 1 | Boundary |
| Initial Values 1 | Domain |
| Electric Potential 1 | Boundary |
| Ground 1 | Boundary |

## Mesh 1

Mesh 1

### Size (size)

Settings

| Description | Value |
| --- | --- |
| Maximum element size | 650 |
| Minimum element size | 30 |
| Curvature factor | 0.6 |
| Maximum element growth rate | 1.5 |
| Predefined size | Coarser |

### Free Triangular 1 (ftri1)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1 |

Free Triangular 1

Settings

| Description | Value |
| --- | --- |
| Number of iterations | 4 |
| Maximum element depth to process | 4 |

Information

| Description | Value |
| --- | --- |
| Last build time | 12 seconds |
| Built with | COMSOL 6.3.0.290 (win64), Jul 5, 2026, 2:04:17 AM |

# Study 1

Computation information

| Computation time | 4 s |
| --- | --- |

## Parametric Sweep

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| L0 | 220[mm] 240[mm] 260[mm] 280[mm] 300[mm] | mm |

Study settings

| Description | Value |
| --- | --- |
| Sweep type | Specified combinations |
| Parameter name | L0 |
| Unit | mm |

Parameters

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| L0 (total length of insulator) | 220[mm] 240[mm] 260[mm] 280[mm] 300[mm] | mm |

## Stationary

Study settings

| Description | Value |
| --- | --- |
| Include geometric nonlinearity | Off |

Physics and variables selection

| Key | Solve for |
| --- | --- |
| Electrostatics (es) | On |

Store in output

| Interface | Output | Selection |
| --- | --- | --- |
| Electrostatics (es) | Physics controlled |  |

Mesh selection

| Component | Mesh |
| --- | --- |
| Component 1 | Mesh 1 |

# Results

## Datasets

### Study 1/Solution 1

Solution

| Description | Value |
| --- | --- |
| Solution | Solution 1 (sol1) |
| Component | Component 1 (comp1) |

Dataset: Study 1/Solution 1

### Cut Line 2D 1

Data

| Description | Value |
| --- | --- |
| Dataset | Study 1/Solution 1 (sol1) |

Line data

| Description | Value |
| --- | --- |
| Line entry method | Two points |
| Points | {{18, 0}, {80, 3350.7}} |

Advanced

| Description | Value |
| --- | --- |
| Space variable | cln1x |
| Normal variables | {cln1nx, cln1ny} |
| Tangent variables | {cln1tx, cln1ty} |

Dataset: Cut Line 2D 1

### Edge 2D 1

Data

| Description | Value |
| --- | --- |
| Dataset | Study 1/Solution 1 (sol1) |

## Tables

### Maximum and Minimum Values

Graph marker

## Plot Groups

### Electric Potential (es)

Surface: Electric potential (V)

### Electric Field (es)

Surface: Electric field norm (V/m)

### 1D Plot Group 4

Line Graph: Electric field norm (V/m)