# 2D-Polymeric-Insulator-Electric-Field-Analysis

| Report date | Aug 23, 2026, 8:40:12 AM |
| --- | --- |

Contents

1.	Global Definitions

1.1.	Parameters

1.2.	Shared Properties

2.	Component 1

2.1.	Definitions

2.2.	Geometry 1

2.3.	Materials

2.4.	Electrostatics

2.5.	Mesh 1

3.	Study 1

3.1.	Parametric Sweep

3.2.	Stationary

3.3.	Solver Configurations

4.	Results

4.1.	Datasets

4.2.	Tables

4.3.	Plot Groups

# Global Definitions

| Date | Jun 29, 2026, 6:28:09 AM |
| --- | --- |

Global settings

| Name | 2D-Polymeric-Insulator-Electric-Field-Analysis.mph |
| --- | --- |
| Path | D:\COMSOL\2D-Polymeric-Insulator-Electric-Field-Analysis.mph |
| Version | COMSOL Multiphysics 6.3 (Build: 290) |

Used products

COMSOL Multiphysics

Computer information

| CPU | Intel64 Family 6 Model 186 Stepping 2, 6 cores, 15.66 GB RAM |
| --- | --- |
| Operating system | Windows 11 |

## Parameters

Parameters 1

| Name | Expression | Value | Description |
| --- | --- | --- | --- |
| L0 | 3350.7[mm] | 3.3507 m | total length of insulator |
| L | 3400[mm] | 3.4 m |  |

## Shared Properties

### Default Model Inputs

| Tag | cminpt |
| --- | --- |

# Component 1

Settings

| Description | Value |
| --- | --- |
| Unit system | Same as global system (SI) |

## Definitions

### Coordinate Systems

#### Boundary System 1

| Coordinate system type | Boundary system |
| --- | --- |
| Tag | sys1 |

Coordinate names

| First | Second | Third |
| --- | --- | --- |
| t1 | n | to |

## Geometry 1

Geometry 1

Units

| Length unit | mm |
| --- | --- |
| Angular unit | deg |

Geometry statistics

| Description | Value |
| --- | --- |
| Space dimension | 2 |
| Number of domains | 208 |
| Number of boundaries | 2650 |
| Number of vertices | 2450 |

### Import 1 (imp1)

Source

| Description | Value |
| --- | --- |
| Source | DXF file |
| Filename | C:\Users\MULUK\Downloads\CLRI - C - 120 - BS - 0001.dxf |

Information

| Description | Value |
| --- | --- |
| Build message | Imported 1 curve object and 1 mixed object from C:\Users\MULUK\Downloads\CLRI - C - 120 - BS - 0001.dxf. |

### Move 1 (mov1)

Displacement

| Description | Value |
| --- | --- |
| Specify | Displacement vector |
| x | 13900 |
| y | -30500 |

### Rectangle 1 (r1)

Size and shape

| Description | Value |
| --- | --- |
| Width | 5000 |
| Height | 1600 |

Position

| Description | Value |
| --- | --- |
| Base | Center |
| Position | {1600, 0} |

### Form Union (fin)

Information

| Description | Value |
| --- | --- |
| Build message | Formed union of 1 solid object, 1 curve object, and 1 mixed object. Union has 208 domains, 2650 boundaries, and 2450 vertices. |

## Materials

### Air

Air

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Basic

| Description | Value | Unit |
| --- | --- | --- |
| Coefficient of thermal expansion | alpha_p(pA, T) | 1/K |
| Mean molar mass | 0.02897 | kg/mol |
| Bulk viscosity | muB(T) | Pa·s |
| Relative permeability | 1 | 1 |
| Relative permittivity | 1 | 1 |
| Dynamic viscosity | eta(T) | Pa·s |
| Ratio of specific heats | 1.4 | 1 |
| Electric conductivity | 0 | S/m |
| Heat capacity at constant pressure | Cp(T) | J/(kg·K) |
| Density | rho(pA, T) | kg/m³ |
| Thermal conductivity | k(T) | W/(m·K) |
| Speed of sound | cs(T) | m/s |

Refractive index

| Description | Value |
| --- | --- |
| Refractive index, real part | 1 |
| Refractive index, imaginary part | 0 |

Nonlinear model

| Description | Value |
| --- | --- |
| Parameter of nonlinearity | def.gamma - 1 |

Ideal gas

| Description | Value | Unit |
| --- | --- | --- |
| Specific gas constant | R_const/Mn | J/(kg·K) |
| Heat capacity at constant pressure | Cp(T) | J/(kg·K) |
| Ratio of specific heats | 1.4 | 1 |
| Mean molar mass | 0.02897 | kg/mol |

### FR4 (Circuit Board)

FR4 (Circuit Board)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 111–112 |

Basic

| Description | Value | Unit |
| --- | --- | --- |
| Relative permeability | 1 | 1 |
| Electric conductivity | 0.004 | S/m |
| Relative permittivity | 4.5 | 1 |
| Coefficient of thermal expansion | 1.8E-5 | 1/K |
| Heat capacity at constant pressure | 1369 | J/(kg·K) |
| Density | 1900 | kg/m³ |
| Thermal conductivity | 0.3 | W/(m·K) |

Young's modulus and Poisson's ratio

| Description | Value | Unit |
| --- | --- | --- |
| Young's modulus | 2.2E10 | Pa |
| Poisson's ratio | 0.15 | 1 |

### Silicon

Silicon

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 110, 113 |

Basic

| Description | Value | Unit |
| --- | --- | --- |
| Relative permeability | 1 | 1 |
| Electric conductivity | 1E-12 | S/m |
| Coefficient of thermal expansion | 2.6E-6 | 1/K |
| Heat capacity at constant pressure | 700 | J/(kg·K) |
| Relative permittivity | 11.7 | 1 |
| Density | 2329 | kg/m³ |
| Thermal conductivity | 130 | W/(m·K) |

Young's modulus and Poisson's ratio

| Description | Value | Unit |
| --- | --- | --- |
| Young's modulus | 1.7E11 | Pa |
| Poisson's ratio | 0.28 | 1 |

Refractive index

| Description | Value |
| --- | --- |
| Refractive index, real part | 3.48 |
| Refractive index, imaginary part | 0 |

### Aluminum

Aluminum

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: Domains 2–109, 114–208 |

Basic

| Description | Value | Unit |
| --- | --- | --- |
| Relative permeability | 1 | 1 |
| Heat capacity at constant pressure | 900 | J/(kg·K) |
| Thermal conductivity | 238 | W/(m·K) |
| Electric conductivity | 3.774E7 | S/m |
| Relative permittivity | 1 | 1 |
| Coefficient of thermal expansion | 2.3E-5 | 1/K |
| Density | 2700 | kg/m³ |

Young's modulus and Poisson's ratio

| Description | Value | Unit |
| --- | --- | --- |
| Young's modulus | 7E10 | Pa |
| Poisson's ratio | 0.33 | 1 |

Murnaghan

| Description | Value | Unit |
| --- | --- | --- |
| Murnaghan third-order elastic moduli | -2.5E11 | N/m² |
| Murnaghan third-order elastic moduli | -3.3E11 | N/m² |
| Murnaghan third-order elastic moduli | -3.5E11 | N/m² |

## Electrostatics

Used products

COMSOL Multiphysics

Electrostatics

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

### Interface Settings

#### Discretization

Settings

| Description | Value |
| --- | --- |
| Formulation | Finite element (quadratic shape function) |

#### Thickness

Settings

| Description | Value | Unit |
| --- | --- | --- |
| Out-of-plane thickness | 1 | m |

#### Manual Terminal Sweep Settings

Settings

| Description | Value | Unit |
| --- | --- | --- |
| Use manual terminal sweep | Off |  |
| Reference impedance | 50 | Ω |

### Free Space 1

Free Space 1

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Equations

### Zero Charge 1

Zero Charge 1

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: All boundaries |

Equations

### Initial Values 1

Initial Values 1

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1: Dimension 2: All domains |

Settings

| Description | Value | Unit |
| --- | --- | --- |
| Electric potential | 0 | V |

#### Coordinate System Selection

Settings

| Description | Value |
| --- | --- |
| Coordinate system | Global coordinate system |

### Electric Potential 1

Electric Potential 1

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundaries 4–5, 7–8, 10–13, 15–19, 21–25, 27–37, 39–40, 42–49, 51–52, 56–121, 123–133, 135–137, 140–187, 189–198, 200–227, 229–230, 232, 234, 236, 238–239, 241–244, 1111–1115, 1118–1119, 1122–1148, 1151–1233 |

Equations

#### Electric Potential

Settings

| Description | Value | Unit |
| --- | --- | --- |
| Electric potential | 11000 | V |

### Ground 1

Ground 1

Selection

| Geometric entity level | Boundary |
| --- | --- |
| Selection | Geometry geom1: Dimension 1: Boundaries 901–906, 910–943, 945–956, 958–1008, 1010–1014, 1016–1083, 1085, 1087–1089, 1092–1109, 2542–2626, 2629–2650 |

Equations

## Mesh 1

Mesh 1

### Size (size)

Settings

| Description | Value |
| --- | --- |
| Maximum element size | 650 |
| Minimum element size | 30 |
| Curvature factor | 0.6 |
| Maximum element growth rate | 1.5 |
| Predefined size | Coarser |

### Free Triangular 1 (ftri1)

Selection

| Geometric entity level | Domain |
| --- | --- |
| Selection | Geometry geom1 |

Free Triangular 1

Settings

| Description | Value |
| --- | --- |
| Number of iterations | 4 |
| Maximum element depth to process | 4 |

Information

| Description | Value |
| --- | --- |
| Last build time | 12 seconds |
| Built with | COMSOL 6.3.0.290 (win64), Jul 5, 2026, 2:04:17 AM |

# Study 1

Computation information

| Computation time | 4 s |
| --- | --- |

## Parametric Sweep

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| L0 | 220[mm] 240[mm] 260[mm] 280[mm] 300[mm] | mm |

Study settings

| Description | Value |
| --- | --- |
| Sweep type | Specified combinations |
| Parameter name | L0 |
| Unit | mm |

Parameters

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| L0 (total length of insulator) | 220[mm] 240[mm] 260[mm] 280[mm] 300[mm] | mm |

## Stationary

Study settings

| Description | Value |
| --- | --- |
| Include geometric nonlinearity | Off |

Physics and variables selection

| Key | Solve for |
| --- | --- |
| Electrostatics (es) | On |

Store in output

| Interface | Output | Selection |
| --- | --- | --- |
| Electrostatics (es) | Physics controlled |  |

Mesh selection

| Component | Mesh |
| --- | --- |
| Component 1 | Mesh 1 |

## Solver Configurations

### Solution 1

#### Compile Equations: Stationary (st1)

Study and step

| Description | Value |
| --- | --- |
| Use study | Study 1 |
| Use study step | Stationary |

#### Dependent Variables 1 (v1)

General

| Description | Value |
| --- | --- |
| Defined by study step | Step 1: Stationary |

Initial value calculation constants

| Constant name | Initial-value source |
| --- | --- |
| L0 | 220[mm] 240[mm] 260[mm] 280[mm] 300[mm] |

##### Electric Potential (comp1.V) (comp1_V)

General

| Description | Value |
| --- | --- |
| Field components | comp1.V |

#### Stationary Solver 1 (s1)

General

| Description | Value |
| --- | --- |
| Defined by study step | Step 1: Stationary |

Results while solving

| Description | Value |
| --- | --- |
| Probes | None |

##### Parametric 1 (p1)

General

| Description | Value |
| --- | --- |
| Defined by study step | Parametric Sweep |
| Run continuation for | No parameter |

Parameters

| Parameter name | Parameter value list | Parameter unit |
| --- | --- | --- |
| L0 | 220[mm] 240[mm] 260[mm] 280[mm] 300[mm] | mm |

##### Fully Coupled 1 (fc1)

General

| Description | Value |
| --- | --- |
| Linear solver | Direct |

# Results

## Datasets

### Study 1/Solution 1

Solution

| Description | Value |
| --- | --- |
| Solution | Solution 1 (sol1) |
| Component | Component 1 (comp1) |

Dataset: Study 1/Solution 1

### Cut Line 2D 1

Data

| Description | Value |
| --- | --- |
| Dataset | Study 1/Solution 1 (sol1) |

Line data

| Description | Value |
| --- | --- |
| Line entry method | Two points |
| Points | {{18, 0}, {80, 3350.7}} |

Advanced

| Description | Value |
| --- | --- |
| Space variable | cln1x |
| Normal variables | {cln1nx, cln1ny} |
| Tangent variables | {cln1tx, cln1ty} |

Dataset: Cut Line 2D 1

### Edge 2D 1

Data

| Description | Value |
| --- | --- |
| Dataset | Study 1/Solution 1 (sol1) |

## Tables

### Maximum and Minimum Values

Graph marker

## Plot Groups

### Electric Potential (es)

Surface: Electric potential (V)

### Electric Field (es)

Surface: Electric field norm (V/m)

### 1D Plot Group 4

Line Graph: Electric field norm (V/m)